## Part 1
| Electrical Components | Quantity | Unit Cost (USD) | Total Cost | Lifespan
| 1.5 MW Turbine (GE Vernova 1.5sle) | 1 | 2600000 | 2600000 | 20
| PLC (Siemens SIMATIC S7-1200 CPU1215C-1) | 2 | 2600 | 5200 | 15 | Battery Fraction | Tank Fraction | Battery kWh | Tank Gal | Battery Cost ($) | Tank Cost ($) | Total Cost ($)
| Submersible Pumps (WDM (Nidec) NHE Series high-head submersible) | 2 | 200000 | 400000 | 10 | 0 | 1 | 0 | 1000000 | 0 | 150000 | 150000
| Battery (Tesla Megapack 3.9MWh unit) | 1 | 2600000 | 2600000 | 15 | 0.1 | 0.9 | 1000 | 900000 | 125000 | 135000 | 260000
| Booster Pumps (Grundfos CR 10-10 K) | 4 | 6000 | 24000 | 15 | 0.2 | 0.8 | 2000 | 800000 | 250000 | 120000 | 370000
| Pure Aqua Large Reverse Osmosis System RO-600 (Includes Pre and Post treatment) | 1 | 3500000 | 3500000 | 20 | 0.3 | 0.7 | 3000 | 700000 | 375000 | 105000 | 480000
| Extra storage tank (100,000 gallons) | 2 | 70000 | 140000 | 30 | 0.4 | 0.6 | 4000 | 600000 | 500000 | 90000 | 590000
| Brine Disposal Well | 1 | 2300000 | 2300000 | N/A | 0.5 | 0.5 | 5000 | 500000 | 625000 | 75000 | 700000
| Piping (total) | 1 | 2000000 | 2000000 |  | 0.6 | 0.4 | 6000 | 400000 | 750000 | 60000 | 810000
| Total |  |  | 13569200 |  | 0.7 | 0.3 | 7000 | 300000 | 875000 | 45000 | 920000
[6 empty] | 0.8 | 0.2 | 8000 | 200000 | 1000000 | 30000 | 1030000
[6 empty] | 0.9 | 0.1 | 9000 | 100000 | 1125000 | 15000 | 1140000
[6 empty] | 1 | 0 | 10000 | 0 | 1250000 | 0 | 1250000
| Mechanical Components | Quantity | Cost (USD) | Lifespan
| 1 MW Aeromotor Turbine | 1 | 1000000 | 25
| Wind turbine rotor lock | 3 | 15000 | 20
| Gearbox (Winergy PEAB series) | 1 | 200000 | 20
| Variable-Displacement Hydraulic Power Unit (HPU) | 1 | 300000 | 15 | Note: likely will not be COTS, need custom engineering solutions for this scale
| 300 Bar Hydraulic Manifold (Custom Ductile Iron Block) | 1 | 20000 | 20 | Note: likely will not be COTS, need custom engineering solutions for this scale
| Hydraulic Motor (225 kW rating) (Haaglund CA 50) | 2 | 60000 | 15
| Hydraulic Motor (225 kW rating) (Haaglund CA 70) | 1 | 50000 | 15
| Vertical Turbine Pump (PSI Prolew Flowserve VTP) | 1 | 60000 | 15
| Plunger Pump (Triplex Plunger Pump K 13000 – 3G) | 1 | 35000 | 20
| High Pressure Pump (Danfoss APP 78/1500 180B7808 (1300 L/min) | 3 | 100000 | 15
| Gate valve | 2 | 8000 | 15
| Pure Aqua Large Reverse Osmosis System RO-600 (Includes Pre and Post treatment) | 1 | 3500000 | 20
Brine Disposal Well | Extra storage tank (100,000 gallons) | 2 | 140000 | 30
| Brine Disposal Well | 1 | 2300000 | N/A
| Pipes (total) |  | 2000000 | 30
| Total |  | 9788000
| Hybrid Components | Quantity | Cost (USD) | Lifespan
| 1 MW Aeromotor Turbine | 1 | 1000000 | 25 | Note: likely will not be COTS, need custom engineering solutions for this scale
| Wind turbine rotor lock | 3 | 15000 | 20
| Gearbox (Winergy PEAB series) - Must be ordered with second output shaft | 1 | 200000 | 20
| Variable-Displacement Hydraulic Power Unit (HPU) | 1 | 300000 | 15
| Hydraulic Motor (225 kW rating) (Haaglund CA 70) | 1 | 50000 | 15
| Vertical Turbine Pump (PSI Prolew Flowserve VTP) | 1 | 60000 | 15
| Extra storage tank (100,000 gallons) | 2 | 140000 | 30
| Pipes (total) |  | 2000000 | 30
| PLC (Siemens SIMATIC S7-1200 CPU1215C-1) | 2 | 5200 | 15
| Battery (Tesla Megapack 3.9MWh unit) | 1 | 2600000 | 15
| Pure Aqua Large Reverse Osmosis System RO-600 (Includes Pre and Post treatment) | 1 | 3500000 | 20
| High Pressure Pump (Danfoss APP 78/1500 180B7808 (1300 L/min) | 3 | 100000 | 15
| HCI544E 3-Phase - Stamford ¦ 600 kW | 1 | 200000 | 20
| Brine Disposal Well | 1 | 2300000 | N/A
| Rectifier/Inverter Package | 1 | 60000 | 15
| Total |  | 12530200
| Energy Required for each subsystem | All the same, just configured differently due to different layouts
| Groundwater extraction | 185.8 kW
| Pressure boost | 61.8 kW
| RO desalination | 311.5 kW
| Brine reinjection | 81.9 kW
| Total | 641.0 kW

## Part 2
TDS | kW delta (RO Desalination) from design [TDS=950 ppm] | Depth | kW delta (pump energy) from design [depth=275 m]
0 | -13.875 | 0 | -185.8
100 | -12.415 | 100 | -118.236
200 | -10.954 | 200 | -50.673
300 | -9.493 | 300 | 16.891
400 | -8.033 | 400 | 84.455
500 | -6.572 | 500 | 152.018
600 | -5.112 | 600 | 219.582
700 | -3.651 | 700 | 287.145
800 | -2.191 | 800 | 354.709
900 | -0.73 | 900 | 422.273
1000 | 0.73 | 1000 | 489.836
1100 | 2.191 | 1100 | 557.4
1200 | 3.651 | 1200 | 624.964
1300 | 5.112 | 1300 | 692.527
1400 | 6.572 | 1400 | 760.091
1500 | 8.033 | 1500 | 827.655
1600 | 9.493 | 1600 | 895.218
1700 | 10.954 | 1700 | 962.782
1800 | 12.415 | 1800 | 1030.345
1900 | 13.875 | 1900 | 1097.909